## Slide 1
CLOSING MEETING
Development of technical capacity
WP4 – Key technologies & enhanced experiments
IMPULSE is funded by the European Union’s
Horizon 2020 research and innovation programme
under grant agreement No. 871161
17 April 2024
Daniel Kramer *
IMPULSE PROJECT

## Slide 2
Development of technical capacity
Task 4.1 – Key optical components long term sustainability: strategies to increase the LIDT
  Better coatings & metrology (designs, vendor surveys, LIDT testing)
  (Priority) Dependable Access to very large high power coatings (mirrors, gratings)
  All ELI facilities
  Task leader: Daniel Kramer ELI Beamlines
  Coordinators: S. Kahaly ALPS, D. Ursescu NP
12. Identify and develop new key optical components for long-term sustainability: strategies to increase the laser-induced damage threshold (LIDT)
10. Optimise spare parts management for cost efficiency, machine safety and reliability
Testing according to ISO standards

## Slide 3
Development of technical capacity
Tasks in WP4
Task 4.2 – Definition of a standard approach to target design and debris shielding
  Improve target area optics protection (Debris etc) and electronics protection (EMP)
  Master lifecycle of complex targetry enabling strategic long-term decisions
  All ELI facilities, STFC, HZDR, TUD
  Task leader: Mihail Cernaianu ELI NP
  Coordinators: S. Weber BL, S. Kahaly ALPS, U. Schramm HZDR, G. Schaumann TUD, C. Spindloe STFC
13. Define a standard approach to target design and debris shielding

## Slide 4
Development of technical capacity
Tasks in WP4
Task 4.3 – Development of software toolboxes to enable optimized operation
  Better control systems integration of complex/expensive devices
  Implementation of SW tools for high peak power laser operation and optimization
  All ELI facilities, Elettra
  Task leader: Lajos Schrettner ELI-ALPS
  Coordinators: B. Plötzeneder, D. Peceli (BL), [B. de Boisdeffre], S. Moldoveanu and C. Ene (NP), M. Lonza (ELETTRA)
14. Define and conduct world-leading experiments to showcase the unique capabilities of the ELI Facilities

## Slide 5
Development of technical capacity
Tasks in WP4
Task 4.4 - Key technologies to enhance experimental performances of secondary sources
  Development of detectors or experimental setups to improve high rep rate experimental programs
4.4a Task Leader: Zsolt Divéki ELI ALPS (formerly Sergei Kühn)
  FORTH is building a Magnetic Bottle Electron ToF Spectrometer prototype
  CNR is building a 2 axis XUV Polarimeter prototype
  STFC is lending a Liquid Jet experimental station and provides training
4.4b Task Leader: Daniele Margarone ELI Beamlines
  QUB develops enhanced helical coil experimental setup for high repetition rate p+ generation
  INFN develops a detector array to measure Bragg peak for p+ beams
14. Define and conduct world-leading experiments to showcase the unique capabilities of the ELI Facilities

## Slide 6
Development of technical capacity

## Slide 7
ELIAS laboratory created in ELI BL
Experience from largest US laser labs helped in the design (SANDIA, LLE, LLNL)
Unique 1.2 m aperture for HE laser optics in planetary motion
Coating Process R&D and related LIDT funded by THRILL Horizon Europe project
Enables largest >5 PW laser projects
ELIAS – ELI Advanced coating System
J. Oliver (Vacuum Innovations), T. Tolenis, D. Kramer (ELI BL), et al.
ELI BL technical teams, S. Hejtmánek (Streicher)
Task 4.1

## Slide 8
LIDT prototype @ELI-ALPS
Top view
Currently offered to users ELI-ERIC Call 4 (https://up.eli-laser.eu/call/4th-eli-call-for-users-819757098 )
[ELI BL LIDT system part of user experiment in May 2024]
S. Kahaly ALPS, T. Somoskői, N. Ahmed (PhD student)
Task 4.1

## Slide 9
LIDT beamtime with large beam at ELI-NP
PI: D. Ursescu for T4.1
First campaign May 2022:
Gabriel Bleotu, Alice Dumitru, Cristian Alexe, Andrei Naziru, Stefan Popa, Dan Matei, Ioan Dancus, Daniel Ursescu (ELI-NP), Tamas Somoskoi (ELI-ALPS)
Second campaign September 2022:
Gabriel Bleotu, Andrei Naziru, Andrew-Hiroaki Okukura, Stefan Popa, Vicentiu Iancu, Dan Matei, Alice Dumitru, Cristian Alexe, Dan Matei, Vlad Musat, Maria Talposi, Daniel Ursescu (ELI-NP), Tamas Somoskoi, Naveed Ahmed, Subhendu Kahaly (ELI-ALPS) Chauvin Adrien, Daniel Kramer (ELI-Beamlines)
Task 4.1

## Slide 10
LIDT beamtime with large beam at ELI-NP
Measured Damage
Binary damage map
10 shots
100 shots
1000 shots
Metrology done in ALPS, NP and BL
Interesting method for ultrafast pulses – close to operational mode
The Arthur Guenther Best Poster Award for G. Bleotu
https://doi.org/10.1117/12.2641616
Task 4.1

## Slide 11
WP4.2 targets, EMP and Debris shielding
M. Cernaianu (NP)
And many others
D4.4 – Target production strategy and report on implementation
Tape targets developments STFC
Liquid leaf/jet target developments STFC
Foam/aerogel developments in TUD
Cryo targets
HZDR
D4.3 – Detailed analysis of users' target needs to implement mitigation strategies of EMP protection and debris shielding
2 key deliverables
+User Workshops
Many target types developed and produced for experiments
Exhaustive list of
  target type requirements for each facility
  manufacturing/procurement methods
  Decision trees for user proposals
Task 4.2

## Slide 12
Rep rate enabling
High vacuum possibilities (challenging)
Shock propagation risks
Biological samples possible
WP4.2 liquid target developments
M. Cernaianu (NP), G.Schaumann, D. Hofmann, T. Bauer, J. Kurzschenkel, F. Christ (TUD)
C.Spindloe, W.Robins, S.Astbury, R. Sarasola, H. Edwards, K, Federov, D. Crestani (STFC)
Liquid leaf system in TUD
Liquid leaf/jet target developments STFC / ALPS
Task 4.2

## Slide 13
Tapes enable high repetition rates
Complex targets possible but development needed (collaborations)
WP4.2 tape, cryogenic and foam targets
M. Cernaianu (NP), U. Schramm, S. Assenbaum, C. Bernert, M. Rehwald (HZDR)
Foam/aerogel developments in TUD
[1]C. C. Gheorghiu et al. Materials 15, 6134 (2022);
[2] C. C. Gheorghiu et al. High Power Laser Science and Engineering 10, e3 (2021);
[3] C. C. Gheorghiu et al. Frontiers in Physics 9, 727498 (2021);
[4] Balázs Nagyillés et al. Phys. Rev. Applied 20, 054048 – 2023
[5] C. B. Curry, et al. Journal of Visualized Experiments 9, 159 (2020)
[6] M. Rehwald, et al. Nature Communications 14, 4009 (2023)
[7] C. Bernert, et al. Physical Review Applied 19, 014070 (2023)
[8] C. Bernert, et al. Scientific Reports 12, 7287 (2022)
[9] M. Rehwald, et al. Journal of Physics Conf. Ser. 2420, 012034 (2023)
Task 4.2

## Slide 14
3D printed plastic frame with mounted multilayered targets
SEM and AFM images of highly-periodic 1µm wide metallic gratings fabricated by Ar-ion milling and e-beam lithography
Two possible shapes: rectangular and sinusoidal like.
wrinkled
Periodic gratings on metallic foils
Selection of Targets produced at ELI-NP Target Lab
SEM images of metallic(Cu, Ni) nanowires (top) and nano-tubes fabricated by electrochemistry
Metallic nanowires/nanotubes
- Au freestanding targets (thickness: 20 - 800 nm)
Free-standing Au target
Free-standing Al target
Au freestanding targets on a frame
- Al freestanding targets (thickness:
8 - 800 nm)
Freestanding metallic films
Multilayered targets
(ELI-Beamlines collab – for X-Ray generation)
Task 4.2

## Slide 15
ALPS timing/timestamping designed with help of Elettra
Control system config DB & device API
ELK feasibility study – data patterns and predictive capabilities for maintenance
Time Series correlations in Grafana
Machine learning / AI
  LIDT data processing improvement
  Optimization in closed loop of Dispersion management
WP4.3 SW tools to optimize laser operations
L. Schrettner (ALPS), D. Peceli, B. Plötzeneder (BL), M. Lonza (Elettra), et al.
Universal ELI sequencer
Task 4.3

## Slide 16
SCADA Integration of HPLS1 amp in NP
  Tango interfaces
  Panorama HMI interf.
Personal and Machine Safety integration
WP4.3 integration of complex systems
Intergation of nanoESCA system in ALPS
Data visible in Grafana after integration
noMachine remote access used
L. Schrettner (ALPS), C. Ene, S. Moldoveanu (NP), facility controls teams
Task 4.3

## Slide 17
Task 4.4_A: MBES
FORTH
  Estimated operation parameters:
    Energy resolution: ΔE/E < 5%
    Mass resolution: Δm/m < 0.5%
    Compatible with vacuum: 10-9 mbar < P < 10-6 mbar
    Length: 2.2 m
    Collection solid angle: 2 p or p field free, 4 p with applied electric field
  Tested in FORTH
Z. Divéki (ALPS), P. Tzallas, M. Skantzakis (FORTH), et al.
Task 4.4

## Slide 18
Task 4.4_A: Polarimeter
CNR
  Developed by CNR team and commissioned
  Installed at ELI-ALPS user beamline
  Can measure different polarizations of secondary beams (EUV)
  Generation of circularly pol. XUV beams was demonstrated
3 mirror assembly
In each plane
Polarizer assembly
Polarimeter assembly
Task 4.4
L. Poletto, M. Nisoli, M. Lucchini, M. Talarico (CNR), Z. Divéki, T. Csizmadia, M. Balázs (ALPS), et al.

## Slide 19
Task 4.4_A: Liquid jet
STFC
  Liquid jet setup delivered to ELI-ALPS
  Assembled together with eTOF
  ATI from liquid water and aqueous solutions tested
Z. Diveki (ALPS), R. Chapman, E. Springate, J. Thompson (STFC), et al.
Task 4.4

## Slide 20
Compact proton beamline development at ELI_BL
Aims: proton collimation
energy boost and selection
flux enhancement
progress towards high-rep operation
Implementation at ELIMAIA (ELIUPM 137 – Kar)
Coil sync energy ~7 MeV
25X
Flux increase
Divergence < 1º
29 MeV
37 MeV
33 MeV
44 MeV
Highest proton energies at ELI BL
coil
Standard foil
Marco Borghesi, S. Kar, P. Martin, O.Cavanagh, C. Fegan, A. McCay, C. Whiteside (QUB)
P. Cirrone, G. Petringa, A. Pappalardo (LNS-INFN), ELI-BL team
Task 4.4

## Slide 21
Towards rep-rated operation
9 MeV
5 MeV
7 MeV
Evidence of focusing
To be optimized by improving EM pulse coupling
Target refresh by customized tape drive
Capable of 10 Hz operation
10 µm Cu tape
EM pulse picked up by a small Cu flag detached from tape drive
Task 4.4

## Slide 22
Injection into beamline
Flat foil dose @ 35 MeV
~ 1 Gy
Foil/coil: dose @ 35 MeV
~ 70 Gy
VULCAN PW (RAL) –
coupling of coil to simple radiobiology beamline
Future plans: injection in ELIMED beamline
First results from
FLAIM campaign
1.5 Gy, 100 shots
Coil injection could lead to
~ Gy dose in single shot
Ultra-high dose rate regime:
~108 Gy/s
Task 4.4

## Slide 23
Task 4.4_B: INFN PRAGUE detector
  SiC detector stack developed
  Custom electronics, each of 80 chips characterized (30 rejected)
  Reconstructs Bragg Peak with high accuracy
  Rep rate enabling
G. Petringa, P. Cirrone, M. Guarrera, A. Amato, C. Verona, A. Kurmanova (INFN)
Task 4.4

## Slide 24
Beyond Impulse
Very important work done supporting laser operations and experimental programs
ELI teams clearly interested in follow-up collaborations
  LIDT studies across facilities
  Coating developments
  Data management, visualization
  AI / Machine Learning
  Target developments
  …
Testing according to ISO standards

## Slide 25
THANK YOU FOR your ATTENTION
Daniel Kramer
IMPULSE is funded by the European Union’s
Horizon 2020 research and innovation programme
under grant agreement No. 871161
Thanks to all the partners and participants for their excellent work